## Sheet1
Instrument Category | Instrument Type | Unit of Measurent | Process Fluid Measured? Oil or Gas | Device Location | Serial Number | Tag or Other Reference Number | Manufacturer's Name | Instrument Model Number / Name | Date Last Calibrated | Authority Conducting Last Calibration | Serial Number of Last Calibration Certificate | Are Copies of Original Equipment Manufacturers Type Approval / Patent Available ? Yes/No | Are Copies of Original Equipment Manufacturers Instruction / Service Manuals Available ? Yes/No | Has the Device / Equipment a Pattern Approval Certificate from W&M Dept? Yes/No | Has the Device / Equipment an Initial or Periodic Verification Certificate from W&M Dept ? Yes/No
Measures of Volume | TURBINE METER | BARRELS | OIL | OKWORI | 104-IH-001 | N/A | ALDERLEY |  | 27/11/2013 | Cakasa | Yes | CNC/CR/08/13 | Yes | No | No