## Sheet1
LIST OF PH LAB MEASURING EQUIPMENT
S/N | MODEL NO. | DESCRIPTION | UNIT MEASURED
1 | ML 204/03 | Mettler Balance | Weight
2 | PYREX | Volumetric Flask | Volume
3 | PYREX | Beakers | Volume
4 | PYREX | Measuring Cylinder | Volume
5 | DA-100A | Densitometer | SG of liquids
6 | PYREX | Pipette | Volume
7 | 511628 | pH Meter | Temp/Ph (Acidity or Basicity)
8 | N/A | Thermometer | Temperature
9 | DR 2010 | Spectrophotometer | Intensity of light as a function of wavelength
10 | 150E/801698 | Inubator | Temp.
11 | 100-800 | Mermmert Oven | Temp.
12 | SM 801A | Uniscope Water Bath | Temp.
13 | 521307 | Conductivity meter | Electrical conductivity