## BONGA
WEIGHTS & MEASURES EQUIPMENT REGISTRATION DETAILS
NAME OF COMPANY | Shell Nigeria Exploration and Production Company (SNEPCo) |  |  |  |  | Main Site / Location of Equipment |  | BONGA FPSO
[6 empty] | State |  | Lagos State
ADDRESS OF COMPANY | 21/22 Freeman House
| Marina |  |  |  |  | Terminal Contact Persons Name |  | Joseph Isodje/Emma Udofia
| Lagos |  |  |  |  | Contact Person Email Address |  | UIG-Bongainstsup@shell.com
| Lagos State |  |  |  |  | Contact Person Telephone number |  | 2348070269412
Instrument Category | Instrument Type | Unit of Measurent | Process Fluid Measured? Oil or Gas | Device Location | Serial Number | Tag or Other Reference Number | Manufacturer's Name | Instrument Model Number / Name | Date Last Calibrated | Authority Conducting Last Calibration | Serial Number of Last Calibration Certificate | Are Copies of Original Equipment Manufacturers Type Approval / Patent Available ? Yes/No | Are Copies of Original Equipment Manufacturers Instruction / Service Manuals Available ? Yes/No | Has the Device / Equipment a Pattern Approval Certificate from W&M Dept? Yes/No | Has the Device / Equipment an Initial or Periodic Verification Certificate from W&M Dept ? Yes/No | Tick to Apply for Pattern of Approval Certificate | Tick to Apply for Initial Verification Certificate
Measures of Volume | Helical Type Turbine meter | Cubic Meter | Oil | LACT (oil export stream 1) | 900959 | 27-FE-304 | Faure Herman | TZ 400-4000 N (TURBINE METER) | 2014-03-06 | Bonga Metering & witnessed by DPR REP | Linearity calibration Checks | No | Yes | No | No | √ | √
Measures of Volume | Helical Type Turbine meter | Cubic Meter | Oil | LACT (oil export stream 2) | 9010098 | 27-FE-324 | Faure Herman | TZ 400-4000 N (TURBINE METER) | 2014-04-01 | Bonga Metering & witnessed by DPR REP | Linearity calibration Checks | No | Yes | No | No | √ | √
Measures of Volume | Helical Type Turbine meter | Cubic Meter | Oil | LACT (oil export stream 3) | 9010098 | 27-FE-324 | Faure Herman | TZ 400-4000 N (TURBINE METER) | 2014-06-28 | Bonga Metering & witnessed by DPR REP | Linearity calibration Checks | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | BarG | Oil | LACT (oil export stream 1) | 7584936 | 27-PIT-304 | Fisher Rosemount | 3051TG | 2014-06-21 | Bonga Metering ( In house Calibration) | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | BarG | Oil | LACT (oil export stream 2) | 7584937 | 27-PIT-324 | Fisher Rosemount | 3051TG | 2014-07-17 | Bonga Metering ( In house Calibration) | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | BarG | Oil | LACT (oil export stream 3) | 7584938 | 27-PIT-344 | Fisher Rosemount | 3051TG | 2014-08-31 | Bonga Metering ( In house Calibration) | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Temperatuure Measures | Temperature Element( RTD) | Degree C | Oil | LACT (oil export stream 1) |  | 27-TE-304 | Bush Beach Eng | BRT/S/M/A/4/6/655 | 2014-06-21 | Bonga Metering | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Temperatuure Measures | Temperature Element( RTD) | Degree C | Oil | LACT (oil export stream 2) |  | 27-TE-324 | Bush Beach Eng | BRT/S/M/A/4/6/656 | 2014-07-17 | Bonga Metering | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Temperatuure Measures | Temperature Element( RTD) | Degree C | Oil | LACT (oil export stream 3) |  | 27-TE-344 | Bush Beach Eng | BRT/S/M/A/4/6/657 | 2014-08-31 | Bonga Metering | 3 Monthly Calibration Checks | No | Yes | No | No | √ | √
Measures of Volume | Bi-Directional prover Loop | Cubic Meter | Oil | LACT ( Oil metering Prover skid) | 01/ASL/1610 | A-2741 | Alderley |  | 2013-10-18 | GCA Energy Limited | CAL009-010/2014 | No | Yes | No | No | √ | √
Measures of Height | Portable Guaging Tape | Meters | Oil | Portable Equipment | 24121 | NA | MMC Europe | D-2401-2 | 2014-02-18 | Plant Engineering Nigeria LTD | AHAS022_0054 | No | Yes | No | No | √ | √
Measures of Height | Portable Guaging Tape | Meters | Oil | Portable Equipment | 24122 | NA | MMC Europe | D-2401-3 | 2014-02-18 | Plant Engineering Nigeria LTD | AHAS022_0055 | No | Yes | No | No | √ | √
Laboratory Equipment | Seta oil Test Centrifuge | BS&W (%) | Oil | BONGA LABORATORY | 1022095 |  | SETA | 90000-3P | 2014-04-21 | RALEC Engineering |  | No | Yes | No | No | √ | √
[14 empty] | No | No | √ | √
Measures of Height
Gas Measures
Measures of Volume
Laboratory Equipment
Pressure Measures
Temperatuure Measures
Measures of Weight
Analogue Weighing Instrument
Automatic Weighing Instrument
Oil
Gas
Yes
No