## Base 1
Blend Plant Measuring Equipment Data
N | Item Description | Location | Serial Number | Manufacture | Model number | Capacity | Last service date
1 | Flow meter | PH Blend Plant | 14117676 | Micro Motion | R200S416NCAAE2222 | Continuos flow measurement | May,25th, 2013
2 | Flow meter | PH Blend Plant | 23165303 | Cameron | 100079666 | Continuos flow measurement
3 | Scale Balance | PH Blend Plant | 083500100005 | Fairbanks | 2810 | 200 kg
4 | Dip Stick | PH Blend Plant |  | White tucker |  | 132 inches

## Base 2
Equipment Data Base 2
N | Item Description | Tag Number | Location | Serial Number | Manufacture | Model number | Ordered From | Last service date | Next service date | PART #
1 | Filter | B2-FM-200 | Base 2 Warehouse | RD-8111 | Rosedale | 830-2F-1-150-s | US |  | June 5th, 2013 | #001
2 | Filter | B2-FM-201 | Base 2 Warehouse | RD-8112 | Rosedale | 830-2F-1-150-s | US |  | June 5th, 2013 | #002
3 | Oil Based Pump | B2-P-203 | Base 2 Warehouse | N/A | Wilden | N/A | US |  | June 15th, 2013 | #003
4 | Water Based Pump | B2-P-204 | Base 2 Warehouse | N/A | Wilden | N/A | US |  | July 5th,2013 | #004
5 | Generator | B2-G-205 | Base 2 outside office bldg. | N/A | FG Wilson | Xp100 | US |  | July 5th,2013 | #005
6 | Compressor | B2-AC-206 | Base 2 ISO slab | N/A | Atlas Copco | 1604380613 | US |  | August 15th,2013 | #006
7 | Booster Pump | B2-BP-207 | Behind shower bldg. | N/A | Raychem | JBM-100-EP | US |  | August 15th,2013 | #007
8 | Safety Shower | B2-SH-208 | Warehouse-Nortwest | N/A | Centurion | N/A | US |  | Checked on daily basis
9 | Safety Shower | B2-SH-209 | Warehouse-South | N/A | N/A | N/A | US |  | Checked on daily basis
10 | Safety Shower | B2-SH-210 | Below water tower | N/A | N/A | N/A | US |  | Checked on daily basis
11 | Safety Shower | B2-SH-211 | ISO slab | N/A | N/A | N/A | US |  | Checked on daily basis
12 | Safety Shower | B2-SH-212 | ISO slab | N/A | N/A | N/A | US |  | Checked on daily basis
13 | Safety Shower | B2-SH-213 | ISO slab | N/A | N/A | N/A | US |  | Checked on daily basis
14 | Safety Shower | B2-SH-214 | Front of showers | N/A | N/A | N/A | US |  | Checked on daily basis
15 | Forklift | B2-FL-215 | Base 2 Warehouse | N/A | Steward Stevenson | Hyster 60 | US |  | Inspected on daily basis
16 | Crane (90ton) | B2-CR-216 | Parked next to ISO slab | N/A | Grove | RT890E | US |  | Inspected on daily basis
17 | Grounding Cable | B2-GC-217 | Below water tower | N/A | ReelCraft | N/A | US |  | Checked on daily basis
18 | Grounding Cable | B2-GC-218 | ISO slab | N/A | ReelCraft | N/A | US |  | Checked on daily basis
19 | Grounding Cable | B2-GC-219 | ISO slab | N/A | ReelCraft | N/A | US |  | Checked before every use
20 | Grounding Cable | B2-GC-220 | ISO slab | N/A | ReelCraft | N/A | US |  | Checked before every use

## Escravos
N | Item Description | Tag Number | Location | Serial Number | Manufacture | Model number | Ordered From | Last service date | Next service date | PART #
1 | Micro Motion Meter | ES-MM-304 | Blend Plant | 3011911 | Micro Motion | 1700R11ABUEZZZ | US |  | 2013-07-10 | #001
2 | Micro Motion Meter | ES-MM-305 | Blend Plant | 3207138 | Micro Motion | 1700R11ABUEZZZ | US |  | 2013-07-10 | #002
3 | Scale | ES-SC-306 | Blend Plant | 110550010760 | Fairbanks Scales | PLF-HR3400-J1 | US |  | 2013-07-25 | #003
4 | Water Tanks | ES-WT-307 | Blend Plant | N/A | Greepee | N/A | N/A |  | N/A
5 | Pump unit #1 | ES-P-308 | Blend Plant | unit# 259270-F | DXP | N/A | US |  | 2013-07-25 | #004
6 | Pump unit #2 | ES-P- 309 | Blend Plant | unit# 259279-F | DXP | N/A | US |  | 2013-07-25 | #005
7 | Sling Metal Box | ES-SB-310 | Blend Plant | unit# WHS457013 | Chevron Nigeria Ltd. | N/A | N/A |  | N/A
8 | Cylinder Holder Box | ES-SB-311 | Blend Plant | GTS1GR1020 | Amony Global | N/A | N/A |  | N/A
9 | Wilden Pump | ES-P-312 | Blend Plant | 21288979 | Wilden | M396880 | US |  | 2013-08-05 | #006
10 | Air Compressor | ES-AC-313 | Blend Plant | 3483 | Atlas Copco | CE0398 | N/A |  | 2013-08-05 | #007
11 | Forklift | ES-FL-314 | Blend Plant | N/A | Stewart Stevenson | Hyster 60 | US |  | Inspected on daily basis | #008
12 | Safety Shower 1 | ES-SH-315 | Blend Plant | N/A | N/A | N/A | US |  | Inspected on daily basis | #009
13 | Safety Shower 2 | ES-SH-316 | Blend Plant | N/A | N/A | N/A | US |  | Inspected on daily basis | #010
14 | Safety Shower 3 | ES-SH-317 | Blend Plant | N/A | N/A | N/A | US |  | Inspected on daily basis | #011
15 | Grounding Cable | ES-SH-318 | Blend Plant | N/A | Metex | N/A | US |  | Inspected before every use
16
17
18
19
20