## FORCADOS
WEIGHTS & MEASURES EQUIPMENT REGISTRATION DETAILS
| NAME OF COMPANY | The Shell Petroleum Development Company of Nigeria Limited |  |  |  |  | Main Site / Location of Equipment |  | Forcados Terminal
[7 empty] | State |  | Delta
| ADDRESS OF COMPANY | Shell Industrial Area
|  | Rumuobiankani |  |  |  |  | Terminal Contact Persons Name |  | Pepple Sokari
|  | Port Harcourt |  |  |  |  | Contact Person Email Address |  | sokari.pepple@shell.com
|  | Rivers State |  |  |  |  | Contact Person Telephone number |  | 080702 45038
Item | Instrument Category | Instrument Type | Unit of Measurent | Process Fluid Measured? Oil or Gas | Device Location | Serial Number | Tag or Other Reference Number | Manufacturer's Name | Instrument Model Number / Name | Date Last Calibrated | Authority Conducting Last Calibration | Serial Number of Last Calibration Certificate | Are Copies of Original Equipment Manufacturers Type Approval / Patent Available ? Yes/No | Are Copies of Original Equipment Manufacturers Instruction / Service Manuals Available ? Yes/No | Has the Device / Equipment a Pattern Approval Certificate from W&M Dept? Yes/No | Has the Device / Equipment an Initial or Periodic Verification Certificate from W&M Dept ? Yes/No | Tick to Apply for Pattern of Approval Certificate | Tick to Apply for Initial Verification Certificate
1 | Measures of Height | Tank Dipping Tape | Meters | Oil | Mobile Device | N/A | SPDC/TKDT/01 | Moore & Wright/ Ohaus | Dip Tape | 14/11/2013 | Starbest Nigeria Limited | STB0026240 | No | Yes | No | No | √ | √
2 | Measures of Height | Tank Dipping Tape | Meters | Oil | Mobile Device | N/A | SPDC/TKDT/02 | Moore & Wright/ Ohaus | Dip Tape | 14/11/2013 | Starbest Nigeria Limited | STB0026241 | No | Yes | No | No | √ | √
3 | Measures of Height | Tank Dipping Tape | Meters | Oil | Mobile Device | N/A | SPDC/TKDT/03 | Moore & Wright/ Ohaus | Dip Tape | 14/11/2013 | Starbest Nigeria Limited | STB0026242 | No | Yes | No | No | √ | √
4 | Measures of Volume | Pipe Prover (loop) | Cubic meter | Oil | FOT Metering skid | 1370 | N/A | FMC Energy System | Bi-directional | 17/03/2014 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
5 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 1 | N/A | TE-10 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
6 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 2 | N/A | TE-20 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
7 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 3 | N/A | TE-30 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
8 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 4 | N/A | TE-40 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
9 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 5 | N/A | TE-50 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
10 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Run 6 | N/A | TE-60 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
11 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Prover Intlet | N/A | TE-90 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS113 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
12 | Temperatuure Measures | RTD | °C | Oil | FOT Metering Skid Prover Outlet | N/A | TE-91 | Fisher & Poter/ Bush Beach Eng | PT-100/ 9808CS123 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
13 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 1 | N/A | PT-10 | Rosemount | 3051CG5A22A1AB4E61 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
14 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 2 | N/A | PT-20 | Rosemount | 3051CG5A22A1AB4E61 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
15 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 3 | N/A | PT-30 | Rosemount | 1151DP8522L4P1B111 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
16 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 4 | N/A | PT-40 | Rosemount | 1151DP8522L4P1B111 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
17 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 5 | N/A | PT-50 | Rosemount | 3051CG5A22A1AB4E61 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
18 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Run 6 | N/A | PT-60 | Rosemount | 3051CG5A22A1AB4E61 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
19 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Prover Intlet | N/A | PT-90 | Rosemount | 1151DP8522L4P1B111 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
20 | Pressure Measures | Pressure Transmitter | Bar | Oil | FOT Metering Skid Prover Outlet | N/A | PT-91 | Rosemount | 3051CG5A22A1AB4E61 | 18/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
21 | Measures of Volume | Auto Sampler | CC | Oil | FOT Metering skid C91 | 91D106 | Q-371 | Clif Mock Company | 500-10. SS | 22/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
22 | Measures of Volume | Auto Sampler | CC | Oil | FOT Metering skid C81 | 90L110 | Q-371B | Clif Mock Company | 500-10. F | 22/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
23 | Measures of Volume | Auto Sampler | CC | Oil | FOT Metering skid C90 | 91D109 | Q-90 | Clif Mock Company | 500-10. SS | 22/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
24 | Measures of Volume | Auto Sampler | CC | Oil | FOT Metering skid C80 | 90L111 | Q-90B | Clif Mock Company | 500-10.F | 22/03/2012 | Cakasa Nigeria Company Limited | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
25 | Laboratory Equipment | Centrifuge Machine | RPM | Oil | FOT Laboratory | 6543/13 | N/A | Thermoscientific/SL16 | Centrifuge | 2014-08-29 | Halden Nig. Limited | N/A | No | Yes | No | No | √ | √
26 | Laboratory Equipment | ECS 3000 Coulometer | Mg/l | Oil | FOT Laboratory | 30EC29122102 | N/A | Thermofisher Scientific | Coulometer | 2014-06-06 | Halden Nig. Limited | N/A | No | Yes | No | No | √ | √
27 | Laboratory Equipment | Thermometer | °F | Oil | FOT Laboratory | 122505025 | TF2 | H-BUSA | Thermometer | 2014-06-18 | Halden Nig. Limited | TH0614-019 | No | Yes | No | No | √ | √
28 | Laboratory Equipment | Spectroil | Mg/l | Oil | FOT Laboratory | 41425685 | N/A | Industrial Tribology System | Spectroil | Manufacture Date | N/A | N/A | No | Yes | No | No | √ | √
29 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 1 | XL184255 | SM-FE10 | Smith Meter Inc | K2DKB0A2030 | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
30 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 2 | PE11509 | SM-FE20 | Smith Meter Inc | K2DKB000 | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
31 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 3 | UK160725 | SM-FE30 | Smith Meter Inc | K2DKBOB200 | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
32 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 4 | N/A | SM-FE40 | Smith Meter Inc | N/A | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
33 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 5 | PE11510 | SM-FE50 | Smith Meter Inc | K2DKB00300 | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
34 | Measures of Volume | Flow Turbine Meters | BBL/H | Oil | FOT Metering Skid Run 6 | RG12818 | SM-FE60 | Smith Meter Inc | K2DKBOB200 | Proved every offtake | FOT Metering | N/A. Dynamic metering modification ongoing | No | Yes | No | No | √ | √
Measures of Height
Gas Measures
Measures of Volume
Laboratory Equipment
Pressure Measures
Temperatuure Measures
Measures of Weight
Analogue Weighing Instrument
Automatic Weighing Instrument
Oil
Gas
Yes
No

## SEAEAGLE
WEIGHTS & MEASURES EQUIPMENT REGISTRATION DETAILS
NAME OF COMPANY | The Shell Petroleum Development Company of Nigeria Limited |  |  |  |  | Main Site / Location of Equipment |  | EA Crude Export Metering Skid 82701
[6 empty] | State |  | Lagos
ADDRESS OF COMPANY | Shell Industrial Area
| Rumuobiankani |  |  |  |  | Terminal Contact Persons Name |  | Chidi Madufor
| Port Harcourt |  |  |  |  | Contact Person Email Address |  | chidi.a.madufor@shell.com
| Rivers State |  |  |  |  | Contact Person Telephone number |  | 08070253310
Instrument Category | Instrument Type | Unit of Measurent | Process Fluid Measured? Oil or Gas | Device Location | Serial Number | Tag or Other Reference Number | Manufacturer's Name | Instrument Model Number / Name | Date Last Calibrated | Authority Conducting Last Calibration | Serial Number of Last Calibration Certificate | Are Copies of Original Equipment Manufacturers Type Approval / Patent Available ? Yes/No | Are Copies of Original Equipment Manufacturers Instruction / Service Manuals Available ? Yes/No | Has the Device / Equipment a Pattern Approval Certificate from W&M Dept? Yes/No | Has the Device / Equipment an Initial or Periodic Verification Certificate from W&M Dept ? Yes/No | Tick to Apply for Pattern of Approval Certificate | Tick to Apply for Initial Verification Certificate
Measures of Volume | Turbine Flow meter | m³/hr | Oil | EA Metering Skid 82701 | 900808 | 82701-FE-103 | Faure Herman | TZ 300-3000 | Proved every offtake | Sea Eagle Metering | Batch No. 514. Date 02/06/14 | No | Yes | No | No | √ | √
Measures of Volume | Turbine Flow meter | m³/hr | Oil | EA Metering Skid 82701 | 900809 | 82701-FE-203 | Faure Herman | TZ 300-3000 | Proved every offtake | Sea Eagle Metering | Batch No. 514. Date 02/06/14 | No | Yes | No | No | √ | √
Measures of Volume | Turbine Flow meter | m³/hr | Oil | EA Metering Skid 82701 | 900810 | 82701-FE-303 | Faure Herman | TZ 300-3000 | Proved every offtake | Sea Eagle Metering | Batch No. 514. Date 02/06/14 | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | Barg | Oil | EA Metering Skid 82701 | 7466810 | 82701-PIT-103 | Fisher Rosemount | 3051TG3A2B21KB411 | 2013-11-02 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | Barg | Oil | EA Metering Skid 82701 | 7466811 | 82701-PIT-203 | Fisher Rosemount | 3051TG3A2B21KB411 | 2013-11-02 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | Barg | Oil | EA Metering Skid 82701 | 7466812 | 82701-PIT-303 | Fisher Rosemount | 3051TG3A2B21KB411 | 2013-11-01 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | Barg | Oil | EA Metering Skid 82701 | 7466813 | 82701-PIT-412 | Fisher Rosemount | 3051TG3A2B21KB411 | 2013-11-02 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Pressure Measures | Pressure Transmitter | Barg | Oil | EA Metering Skid 82701 | 7466814 | 82701-PIT-452 | Fisher Rosemount | 3051TG3A2B21KB411 | 2013-11-02 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Temperatuure Measures | Temp. Transmitter | °C | Oil | EA Metering Skid 82701 | N/A | 82701-TE-103 | ISA Control | THS-S/PT100RTD | 2013-10-28 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Temperatuure Measures | Temp. Transmitter | °C | Oil | EA Metering Skid 82701 | N/A | 82701-TE-203 | ISA Control | THS-S/PT100RTD | 2013-10-28 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Temperatuure Measures | Temp. Transmitter | °C | Oil | EA Metering Skid 82701 | N/A | 82701-TE-303 | ISA Control | THS-S/PT100RTD | 2013-10-28 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Temperatuure Measures | Temp. Transmitter | °C | Oil | EA Metering Skid 82701 | N/A | 82701-TE-408 | ISA Control | THS-S/PT100RTD | 2013-10-28 | GCA Energy Limited | 2013-11-02 | No | Yes | No | No | √ | √
Measures of Weight | Densitometer | Kg/m³ | Oil | EA Metering Skid 82701 | 353882 | 82701-DT-450 | Solartron Mobrey | 7835FAAAACAAXXVI | 2013-05-20 | Intertek | L000728 | No | Yes | No | No | √ | √
Measures of Weight | Densitometer | Kg/m³ | Oil | EA Metering Skid 82701 | 353881 | 82701-DT-451 | Solartron Mobrey | 7835FAAAACAAXXVI | 2013-05-20 | Intertek | L000729 | No | Yes | No | No | √ | √
Measures of Volume | Prover Loop | M³ | Oil | EA Metering Skid 82701 | 00/JK/1595 | N/A | Jordan Kent | N/A | 2013-11-06 | GCA Energy Limited | 002-011-2013 | No | Yes | No | No | √ | √
Measures of Volume | Automatic Sampler | Litres | Oil | EA Metering Skid 82701 | 2000L1720 | 82701-AX-458 | Jiskoot | Jiskoot 210 Cell Sampler | 2013-10-22 | GCA Energy Limited | 2013-10-22 | No | Yes | No | No | √ | √
Measures of Volume | MMC Tape (UIC) | °C/m³ | Oil | Marine Office | 22603 | BAS02ATEX1274X | MMC INTER. CORP | D-2401 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | MMC Tape (UIC) | °C/m132 | Oil | Marine Office | 22602 | SD-5788 | MMC (EUROPE) LTD | D-2562 | 2012-06-21 | AVSCO HOUSTON INT | 22602 | NO | Yes | No | No | √ | √
Measures of Volume | MMC Tape (UIC) | °C/m133 | Oil | Marine Office | 22602 | SD-5789 | MMC (EUROPE) LTD | D-2563 | 2012-06-21 | AVSCO HOUSTON INT | 22602 | NO | Yes | No | No | √ | √
Measures of Height
Gas Measures
Measures of Volume
Laboratory Equipment
Pressure Measures
Temperatuure Measures
Measures of Weight
Analogue Weighing Instrument
Automatic Weighing Instrument
Oil
Gas
Yes
No

## BONNY
WEIGHTS & MEASURES EQUIPMENT REGISTRATION DETAILS
NAME OF COMPANY | The Shell Petroleum Development Company of Nigeria Limited |  |  |  |  | Main Site / Location of Equipment |  | Bonny Terminal
[6 empty] | State |  | Rivers
ADDRESS OF COMPANY | Shell Industrial Area
| Rumuobiankani |  |  |  |  | Terminal Contact Persons Name |  | Okoro Bernard
| Port Harcourt |  |  |  |  | Contact Person Email Address |  | bernard.okoro@shell.com
| Rivers State |  |  |  |  | Contact Person Telephone number |  | 08070228626
Instrument Category | Instrument Type | Unit of Measurent | Process Fluid Measured? Oil or Gas | Device Location | Serial Number | Tag or Other Reference Number | Manufacturer's Name | Instrument Model Number / Name | Date Last Calibrated | Authority Conducting Last Calibration | Serial Number of Last Calibration Certificate | Are Copies of Original Equipment Manufacturers Type Approval / Patent Available ? Yes/No | Are Copies of Original Equipment Manufacturers Instruction / Service Manuals Available ? Yes/No | Has the Device / Equipment a Pattern Approval Certificate from W&M Dept? Yes/No | Has the Device / Equipment an Initial or Periodic Verification Certificate from W&M Dept ? Yes/No | Tick to Apply for Pattern of Approval Certificate | Tick to Apply for Initial Verification Certificate
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A | A12052633 | 21FT-031A (Master) | Krohne | ALTO 5 | 2012-11-29 | Krohne netherlands | 12443 | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A | 2071813002 | 21FT-032A | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A | 2071813003 | 21FT-033A | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B | 2071813001 | 21FT-031B (Master) | Krohne | ALTO 5 | 2011-12-14 | Krohne netherlands | 11735 | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B | 2071813005 | 21FT-032B | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B | 2071813006 | 21FT-033B | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid | 2071811001 | 21FT-061R (Master) | Krohne | ALTO 5 | 2011-12-16 | Krohne netherlands | 113446 | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid | 2071811002 | 21FT-062R | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid | 2071811003 | 21FT-063R | Krohne | ALTO 5 | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A |  | 21-JE-813A | Krohne | UFP | 2012-11-29 | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A |  | 21-JE-815A | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid A |  | 21-JE-817A | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B |  | 21-JE-813B | Krohne | UFP | 2011-12-14 | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B |  | 21-JE-815B | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Skid B |  | 21-JE-817B | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid |  | 21-JE-813R | Krohne | UFP | 2011-12-16 | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid |  | 21-JE-815R | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Ultrasonic | BBL/H | Oil | Refinery Skid |  | 21-JE-817R | Krohne | UFP | manufacture date | Krohne netherlands |  | No | Yes | No | No | √ | √
Measures of Volume | Sampler | CC | Oil | Skid A | 204-F-3203 | 21KS-001A | JISKOOT | 710 EL | manufacture date | JISKOOT |  | No | Yes | No | No | √ | √
Measures of Volume | Sampler | CC | Oil | Skid B | 204-F-3202 | 21KS-001B | JISKOOT | 710 EL | manufacture date | JISKOOT |  | No | Yes | No | No | √ | √
Measures of Volume | Sampler | CC | Oil | Refinery Skid | 204-F-3204 | 21KS-001R | JISKOOT | 710 EL | manufacture date | JISKOOT |  | No | Yes | No | No | √ | √
Measures of Volume | Supervisory computers |  | Oil | Central Control Room |  |  | HP | HP server | manufacture date | HP |  | No | Yes | No | No | √ | √
Measures of Height | Tank Dipping Tape | mm | Oil | Portable Instrument | N/A | N/A | Richter | 414MS-IPM8/ 30M | Manufacture Date | Richter Measuring Tools |  | No | Yes | No | No | √ | √
Temperatuure Measures | Digital Thermometer | Degrees C | Oil | Portable Instrument | N/A | N/A | Alla France | 91000-050/F | Manufacture Date | Alla France |  | No | Yes | No | No | √ | √
Laboratory Equipment | Oil BS&W Centrifuge | mL/mL | Oil | Laboratory | 56040046 | N/A | Seta Corporation | 78564 | 18.06.2014 | Halden |  | No | Yes | No | No | √ | √
Laboratory Equipment | Oil BS&W Centrifuge | mL/mL | Oil | Laboratory | 56040047 | N/A | Seta Corporation | 78564 | 19.08.2014 | Halden |  | No | Yes | No | No | √ | √
Laboratory Equipment | Oil API ThermoHydrometer | Degrees API@ 60oF | Oil | Laboratory | 466504 | N/A | Thomas Scientific | ASTM 54HL | Manufacture Date |  |  | No | Yes | No | No | √ | √
Laboratory Equipment | Oil API ThermoHydrometer | Degrees API@ 60oF | Oil | Laboratory | 103094 | N/A | Thomas Scientific | ASTM 55HL | Manufacture Date |  |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid A |  | 21PT-031A | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid A |  | 21PT-032A | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid A |  | 21PT-033A | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid A |  | 21PT-034A | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid B |  | 21PT-031B | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid B |  | 21PT-032B | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid B |  | 21PT-033B | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Skid B |  | 21PT-034B | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Refinery Skid |  | 21PT-091R | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Refinery Skid |  | 21PT-092R | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Refinery Skid |  | 21PT-093R | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Pressure Transmitter | Bar | Oil | Refinery Skid |  | 21PT-034R | Emerson Process | 3051TG4A2B21KB4E8M6 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid A |  | 21TT-031A | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid A |  | 21TT-032A | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid A |  | 21TT-033A | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid A |  | 21TT-034A | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid B |  | 21TT-031B | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid B |  | 21TT-032B | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid B |  | 21TT-033B | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Skid B |  | 21TT-034B | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Refinery Skid |  | 21TT-091R | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Refinery Skid |  | 21TT-092R | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Refinery Skid |  | 21TT-093R | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Transmitter | Deg C | Oil | Refinery Skid |  | 21TT-034R | Emerson Process | 3144PD5A1K1M5TIF5Q4X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid A |  | 21TE-031A | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid A |  | 21TE-032A | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid A |  | 21TE-033A | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid A |  | 21TE-034A | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid B |  | 21TE-031B | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid B |  | 21TE-032B | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid B |  | 21TE-033B | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Skid B |  | 21TE-034B | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Refinery Skid |  | 21TE-091R | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Refinery Skid |  | 21TE-092R | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Refinery Skid |  | 21TE-093R | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | Temperature Element (RTD) | Ohms | Oil | Refinery Skid |  | 21TE-034R | Emerson Process | OO65N31J0080D0250F28E9R22Q8X1 | 30/09/2013 | Krohne Oil & Gas Nig. |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Skid A |  | 21AT-003AA | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Skid A | 27367 | 21AT-003AB | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Skid B |  | 21AT-003BA | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Skid B |  | 21AT-003BB | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Refinery Skid |  | 21AT-003RA | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | BS&W Analyzer | % | Oil | Refinery Skid |  | 21AT-003RB | Thermo Electron | 4200-LR-LT-2-1-2-7-061 |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m3 | Oil | Skid A | 358787 | 21AT-001AA | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m4 | Oil | Skid A | 358995 | 21AT-001AB | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m5 | Oil | Skid B |  | 21AT-001BA | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m6 | Oil | Skid B |  | 21AT-001BB | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m7 | Oil | Refinery Skid |  | 21AT-001RA | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √
Measures of Volume | Density Transducers | kg/m8 | Oil | Refinery Skid |  | 21AT-001RB | Solartron | 7835AAAFAJTDDX |  |  |  | No | Yes | No | No | √ | √